5th IRMF GAMMA-RAY CALIBRATION INTERCOMPARISON


Participant  _______________         
 Lab. Ref : __________________


Instrument type:
SmartIon
 Serial No.       _________________

[image: image1.wmf]Comments:  _______________________________________________ 
 Reference point:   ____________________________________                       

      ______________________________________________________ 
 
 Orientation:          _____________________________________
	PARTICIPANTS
	OFFICIAL USE ONLY

	Nuclide
	             †

Distance

(mm)
	Target instrument Reading
	True Ambient Dose Equivalent Rate

((Sv h-1)
	Un.
	Instrument
	
	

	
	
	
	
	
	Decade


	Reading inc.BG 

(Sv h-1
	Un.
	Response Factor
	Un.
	
	

	BG
	
	
	
	
	0 – 50 µSv h-1
	
	
	
	
	
	

	60Co
	
	2.5 μSv h-1
	
	
	0 - 50 μSv h-1
	
	
	
	
	
	

	60Co
	
	7.5 μSv h-1
	
	
	0 - 50 μSv h-1
	
	
	
	
	
	

	60Co
	
	25 μSv h-1
	
	
	 0 - 50 μSv h-1
	
	
	
	
	
	

	60Co
	
	250 μSv h-1
	
	
	0 - 500 μSv h-1
	
	
	
	
	
	

	60Co
	
	2.5 mSv h-1
	
	
	0 - 5 mSv h-1
	
	
	
	
	
	

	60Co
	
	25 mSv h-1
	
	
	0 - 50 mSv h-1
	
	
	
	
	
	

	60Co
	
	70 mSv h-1
	
	
	0 - 500 mSv h-1
	
	
	
	
	
	

	60Co
	
	70 μSv h-1 / 4 μSv
	
	
	0 - 5 μSv
	
	
	
	
	
	

	BG
	
	
	
	
	0 – 50 µSv h-1
	
	
	
	
	
	


† Distance from detector reference centre to centre of source                                                                                             Date:  __________________

· Measurement points to be chosen by participant 


        Instrument reading  - BG  µSv h-1  

                Response factor         =    --------------------------------------------------------------

               
 Ambient dose equivalent rate above BG  µSv h-1
  
Signature:________________________________________






� EMBED Equation.3  ���











[image: image2.wmf]_1015228619.unknown

